## Sheet1
Height (cm) | Rack Unit | Measured in Watts | Link to Server Rack in notes | Measured in Watts | Cables Needed
|  | 3180 |  | 3180
|  | PDUA |  | PDUB
2091.5 | 47 |  | Cable Management
2047 | 46 | 250 | Top of Rack Switch 1 | 250 | x2 C15 Cable + 24 RJ45 CAT6
2002.5 | 45 |  | Cable Management
1958 | 44 | 250 | Top of Rack Switch 2 | 250 | x2 C15 Cable + 24 RJ45 CAT6
1913.5 | 43 |  | Cable Management
1869 | 42 | 250 | Management Switch | 250 | x2 C15 Cable + 48 RJ45 CAT6
1824.5 | 41 |  | Cable Management
1780 | 40 |  | Blank Panel 1U (one 4U panel and three 1U panels)
1735.5 | 39
1691 | 38
1646.5 | 37
1602 | 36
1557.5 | 35
1513 | 34
1468.5 | 33 | 700 | Server 1 | 700 | C14 Power Cable
1424 | 32
1379.5 | 31 |  | Blank Panel 1U (for Airflow)
1335 | 30 | 700 | Server 2 | 700 | C14 Power Cable
1290.5 | 29
1246 | 28 |  | Blank Panel 1U (for Airflow)
1201.5 | 27 | 700 | Server 3 (for later upgrades) | 700 | C14 Power Cable
1157 | 26
1112.5 | 25
1068 | 24
1023.5 | 23 | 30 | KVM Monitor & Keyboard (4U for the monitor) | 30 | C14 Power Cable
979 | 22
934.5 | 21
890 | 20
845.5 | 19 |  | Reserved for Storage
801 | 18
756.5 | 17
712 | 16
667.5 | 15
623 | 14
578.5 | 13
534 | 12 | 250 | Static Transfer Switch (STS) | 250 | C15 Power Cable
489.5 | 11
445 | 10
400.5 | 9 | 50 | Rear Exhaust Fans | 50 | C14 Power Cable
356 | 8 |  | 4kW UPS
311.5 | 7
267 | 6
222.5 | 5 |  | 4kW UPS
178 | 4
133.5 | 3
89 | 2 |  | Dirty Power PDU
44.5 | 1
0 | 0 |  | Plinth
Note on D1: https://www.cablemonkey.ie/ccs-4-compartment-colocation-server-cabinets/14090-47u-800mm-x-1000mm-4-compartment-colocation-server-rack.html#!/15-color-grey/313-locks-standard_key_lock/2114-cable_duct-with_cable_duct
Note on C3: https://www.reichelt.com/ie/en/shop/product/pdu_1ru_16_a_230_v_8_x_iec-333741?PROVID=2854&gQT=1
Note on E3: https://www.reichelt.com/ie/en/shop/product/pdu_1ru_16_a_230_v_8_x_iec-333741?PROVID=2854&gQT=1
Note on D5: 24 Port SFP+ 25GB https://www.reichelt.com/ie/en/shop/product/switch_28-port_gigabit_ethernet_sfp-302650?PROVID=2854
Note on F5: C15 is a standard used by Cisco. Since these are cisco switches the type of power cable is integral
Note on D7: 24 Port SFP+ 25GB https://www.reichelt.com/ie/en/shop/product/switch_28-port_gigabit_ethernet_sfp-302650?PROVID=2854
Note on F7: C15 is a standard used by Cisco. Since these are cisco switches the type of power cable is integral
Note on D9: 48 Port 1 GB RJ45 Ethernet connectors https://it-planet.com/en/p/cisco-ws-c3650-48ps-s-1680.html?number=A1001733&gQT=1
Note on F9: C15 is a standard used by Cisco. Since these are cisco switches the type of power cable is integral
Note on D28: https://www.senetic.ie/product/DS-72211-3GE?gQT=1
Note on F39: C15 is a standard used by Cisco. Since these are cisco switches the type of power cable is integral
Note on D42: Used since the STS generates a lot of heat. Found at https://www.dell.com/en-ie/shop/apc-by-schneider-electric-cooling-fan-cabinet/apd/a7272591/power-cooling-data-center-infrastructure
Note on F42: Used to power exhaust fans
Note on D43: https://an-electronics.com/products/riello-sentinel-dual-uninterruptible-power-supply-ups-double-conversion-online-4-kva-3600-w-3-ac-outlets?variant=53857471234393&country=IE&currency=EUR&utm_medium=product_sync&utm_source=google&utm_content=sag_organic&utm_campaign=sag_organic&gQT=1
Note on D46: https://an-electronics.com/products/riello-sentinel-dual-uninterruptible-power-supply-ups-double-conversion-online-4-kva-3600-w-3-ac-outlets?variant=53857471234393&country=IE&currency=EUR&utm_medium=product_sync&utm_source=google&utm_content=sag_organic&utm_campaign=sag_organic&gQT=1

## Sheet2
Category | Item | Quantity | Unit Price | Total Item Cost before VAT | Cost of VAT | Total Item Cost After VAT
Server Cabinets & Cooling | 47U Colocation Server Cabinet | 1 | 1399 | 1399 | 321.77 | 1720.77
Server Cabinets & Cooling | APC Cooling Fan Cabinet | 1 | 1299 | 1299 | 298.77 | 1597.77
Servers | Dell PowerEdge R740 | 2 | 5499 | 10998 | 2529.54 | 13527.54
Servers | Dell PowerEdge R740 | 1 | 5499 | 5499 | 1264.77 | 6763.77
Power Distribution | PDU 1RU 16A 230V | 2 | 89 | 178 | 40.94 | 218.94
Power Distribution | Riello Sentinel Dual UPS 4kVA | 2 | 1299 | 2598 | 597.54 | 3195.54
Networking Equipment | 28-port Gigabit Ethernet Switch (4 management ports) | 2 | 619.13 | 1238.26 | 284.7998 | 1523.0598
Networking Equipment | Cisco WS-C3650-48PS-S Switch | 1 | 1680 | 1680 | 386.4 | 2066.4
Networking Equipment | Static Transfer Switch (STS) | 1 | 350 | 350 | 80.5 | 430.5
Cabling & Accessories | C14 Power Cables | 5 | 75 | 375 | 86.25 | 461.25
Cabling & Accessories | C15 Power Cables | 5 | 75 | 375 | 86.25 | 461.25
Cabling & Accessories | RJ45 CAT6 Cables | 96 | 5 | 480 | 110.4 | 590.4
Cabling & Accessories | KVM Monitor & Keyboard | 1 | 450 | 450 | 103.5 | 553.5
Labour Costs | Rack Installation and Cabling (in hours) | 16 | 65 | 1040 | 239.2 | 1279.2
Labour Costs | Server Configuration (in hours) | 8 | 75 | 600 | 138 | 738
Labour Costs | Network configuration (in hours) | 8 | 75 | 600 | 138 | 738
Labour Costs | UPS installation & testing (in hours) | 4 | 65 | 260 | 59.8 | 319.8
Totals | Equipment & Labour (before VAT) | 155 | 18618.13 | 23920.26 | 5501.6598
Totals | Equipment & Labour (After VAT) | 155 | 22900.2999 | 29421.9198
Totals | Equipment & Labour with Additional Server included (After VAT) | 156 | 29664.0699 | 29419.26 | 6766.4298
Note on E25: 1.23 is the cost of the item including irelands VAT rate at 23%